| Site | Heidelberg University Hospital | University of Pretoria |
| --- | --- | --- |
| PET/CT scanner | Biograph mCT Flow, Siemens | Biograph mCT 40 slice, Siemens |
| Injected activity (MBq), 68Ga-FAPI | 239 | 78 |
| Injected activity (MBq), 18F-FDG | 312 | 305 |
| Time interval (median days) | 9 | 1 |
| CT reference (mAs) | 30 | 40 - 150 |
| CT peak kilovoltage (keV) | 130 | 120 |
| CT slice thickness (mm) | 5 | 5 |
| CT slice increment (mm) | 3 - 4 | 5 |
| PET reconstruction | OSEM algorithm | OSEM algorithm |
| Iterations | 2 | 4 |
| Subsets | 21 | 8 |
| Matrix | 200 x 200 | 200x200 |
| Corrections | Gaussian 5 mm FWHM | Gaussian filter applied at FWHM of 5.0mm |