Surface sterilization and sterilising wash procedures for RNA extraction from insects

Surface sterilization and aseptic techniques:

- All dissection and extraction work have to be performed in a sterile and RNase-free area

- Thouroughly clean all surfaces and equipment (pipettes, forceps, scalpels etc.) with a nuclease-inactivating agent such as RNase Away (Thermo Fisher Scientific)

- Only use RNase free consumables such as tubes and pipette tips

- Regularly change gloves during extraction procedures

Sample preparation and Sterilising wash procedures:

- Perform a series of wash steps to ensure removal of external contaminants

  - Primary Wash

Submerge the entire insect or dissected tissue in a 5% bleach solution for 30 seconds

  - Intermediate Wash

Transfer the insect or tissue to a 95% ethanol wash for 30 seconds

  - Final Wash

Rinse the insect or tissue in sterile nuclease-free or DEPC-treated water to remove residual bleach and ethanol