## Supplementary Table 2: In-house multiplex PCR assay reagents and conditions

All the PCR experiments in this study were conducted using the SuperScriptTM III One-Step RT-PCR System (Invitrogen, Carlsbad, California, USA). Each PCR reaction was performed in a 25µl reaction, which included 5µl of extracted NAs , 2X reaction mix containing 2.4 mM magnesium sulphate (MgSO4), 0.4 mM of each deoxynucleotide triphosphate (dNTP) (Invitrogen, Carlsbad, California, USA), 10 mM sense primers, 10 mM anti-sense primers, 5 units (U) of enzyme mix (first-round)  or 1U of PlatinumTM SuperFi II DNA polymerase (second-round) (Invitrogen, Carlsbad, California, USA) and nuclease-free water.  A 1 µl volume from the first-round reaction was used as template for the second-round amplification. Nucleic acids extracted from HIV-1 negative plasma samples were included in each experiment as controls to assess potential contamination. No positive control was included because the samples had known HIV-1 VL. See Table below for details of the thermocycling conditions for the first-round One-Step RT-PCR and second-round nested PCR. Samples that failed amplification with the multiplex approach were re-amplified in a separate second-round PCR reaction using amplicons from the first-round and fragment-specific PCR primers. Successful amplification of target fragments was evaluated by electrophoresis on a 1% agarose gel with a 1kb DNA ladder (New England Biolabs, MA, USA).

| Thermocycling conditions |  |  |  |  |
| --- | --- | --- | --- | --- |
| Step | Temperature |  | Time | Cycle |
| First round |  |  |  |  |
| cDNA synthesis | 55℃ | 30 minutes |  | 1 cycle |
| Pre-denaturation | 94℃ | 2 minutes |  |  |
| Denaturation | 94℃ | 15 seconds |  | 35 cycles |
| Annealing | 50℃ | 30 seconds |  |  |
| Extension | 68℃ | 1 ½ minutes |  |  |
| Final extension | 68℃ | 10 minutes |  | 1 cycle |
| Second round |  |  |  |  |
| Pre-denaturation | 94℃ | 2 minutes |  | 1 cycle |
| Denaturation | 94℃ | 15 seconds |  | 30 cycles |
| Annealing | 50℃ | 30 seconds |  |  |
| Extension | 68℃ | 1 ½ minutes |  |  |
| Final extension | 68℃ | 10 minutes |  | 1 cycle |

pol – HIV-1 polymerase gene; cDNA – complementary deoxyribonucleic acid;1 – Manufactured by Invitrogen, Carlsbad, California, USA; 2 - Manufactured by Inqaba Biotechnical Industries, Pretoria, South Africa.