## Sheet1
Suppl. Table 2: Compliance with the MIQE guidelines (Bustin et al., 2010) for RT-qPCR
Sample/Template | Details | Checklist
Source tissue | Apis melliefera .L mandibular glands | Yes
Method of preservation | Stored at -80℃ | Yes
Storage time (if appropriate) | < 6 months at -80°C | Yes
Handling | Frozen | Yes
Extraction method | Trizol | Yes
RNA:DNA free | DNase-treatment / intron-spanning primers/ - RT control | Yes
Concentration | Nanodrop UV spectrophotometry (A260/A280) | Yes
RNA:integrity | Agarose gel | Yes
Inhibition-free | Method of testing | No
Assay optimization/validation
Accession number | Accesion numbers are provided in-text | Yes
Amplicon details | Primers for amplicons are shown in Suppl. Table 1 | Yes
Primer sequence | Primer sequences are shown in Suppl. Table 1 | Yes
Probe sequence | N/A | N/A
In silico | BLAST/Primer-BLAST/m-fold | Yes
empirical | primer concentration: 2 μM /annealing temperature: 60°C | Yes
Priming conditions | Oligo-dT and target specific | Yes
PCR efficiency | dilution curve | Yes
Linear dynamic range | Cq 18 to 36 | Yes
Limits of detection | Cq 40 | Yes
Intra-assay variation
RT/PCR
Protocols | RT-qPCR methods are described in Materials and methods. | Yes
Reagents | 2X PowerUP™ SYBR® Green Master Mix (ThermoFischer Scientific, Cat. No. A25776),SuperScript IV cDNA syntheis kit (ThermoFischer Scientific, Cat. No. 18091050) | Yes
Duplicate RT | ΔCq | Yes
NTC | No amplification was observed in no-template controls | Yes
NAC | ΔCq beginning:end of qPCR
Positive control | inter-run calibrators | No
Data analysis
Specialist software | e.g., QBAsePlus | No
Statistical justification | e.g., biological replicates | Yes
Transparent,validated normalisation | e.g., GeNorm summary