The sample size for estimating the test sensitivity

nSe≥zα22Sⅇ1-Sⅇd2x Prev

nSe = Minimum sample size for estimating sensitivity

Z = Standard normal deviate for a given level of significance (α), here α=5%, Z = 1.96

Sⅇ = Pre-determined sensitivity of Bioline™ HCV= 99.3%

d= level of precision or margin of error for the sensitivity=5%

Prev= projected HCV prevalence in Ghana based on previous data= 3%

nSe≥1.962x 0.9931-0.9930.052x 0.03

nSe≥359

Assuming a 10% non-response rate

nSe≥3591-0.1

nSe≥399

The sample size for estimating the test specificity

nSp=zα22Sp1-Spd2x (1-Prev)

nSp = Minimum sample size for estimating specificity

Z = Standard normal deviate for a given level of significance (α), here α=5%, Z = 1.96

Sp = Pre-determined specificity of Bioline™ ™ HCV= 98.1%

d= level of precision or marginal of error for the specificity=5%

Prev= projected HCV prevalence in Ghana based on previous data= 3%

nSp≥1.962x 0.9811-0.9810.052x 0.97

nSp≥30

At a 10% non-response rate

nSp≥301-0.1

nSp≥34