## SRT-V4
NTA Study Reporting Tool
Please read before using! Purpose: This Tool was developed for use by NTA researchers and reviewers to assess the quality of NTA study reporting. The resulting scores reflect solely whether the reporting is sufficiently complete and transparent (based on current, best available understanding of key study aspects in the environmental, food, exposomics, and metabolomics NTA communities). The Tool is not intended for evaluating the quality of the study or resulting data. The primary goal of using the SRT is to ensure that researchers provide all information about the study in sufficient detail to understand method details, replicate the analyses, enable comparisons across studies, and evaluate how study design choices may impact results. We also encourage two supplementary uses of the Tool: 1) to guide study design - by considering what should be reported, a researcher is inherently encouraged to incorporate the necessary aspects into their study design, and 2) as a portal to relevant reference content and resources, which are available at the BP4NTA website (www.nontargetedanalysis.org) and via active hyperlinks within the SRT. Notes & Guidance: The “Example Information to Report” column provides a brief list of representative items relevant to each sub-category - not all are required or necessary for every study, especially given differences across studies in different fields (e.g., environmental vs. metabolomics) and varied study goals (e.g., toxicant discovery vs. biological analysis). Researchers and reviewers should use their expertise and discretion to determine which aspects pertain to a given study, and whether additional details beyond those explicitly listed are also critical to report. Additionally, certain sub-categories may not be relevant to a given study (hence the option to select "NA"), or may be less critical to the overall quality and completeness of reporting. To evaluate these aspects, we strongly encourage users to consider the study type and objectives (e.g., method development, performance evaluation, field application), as well as conceptual linkages across subcategories (e.g., between Statistical Analysis and Statistical Outputs). We also encourage reviewers to include a rationale, so that authors/researchers may readily address concerns. Please also note that the Sections (Methods and Results) are not intended to indicate the location in a manuscript where the information is reported - a user should consider the manuscript in its entirety (including any supporting documents and/or citations). Users should be aware that some text may be hidden at certain zoom levels - please expand the row/column size as needed. Scoring: NA = not applicable (gray); 3 (blue) is the highest score and 0 (red) is the lowest. See score explanation table for details (www.nontargetedanalysis.org/srt/#srt-score-table).
Section | Category | Sub-Category | Example Information to Report | Score (use drop-down menu) | Rationale for score
Methods | Study Design | Objectives & Scope | • Study goals and hypotheses • Scope of the study with respect to use of NTA / suspect screening • Expected chemical and/or metabolite coverage of the approach and potential limitations | 3 | The study's goals and hypotheses are clearly stated and well-defined. Briefly, the rationale for using suspect screening in this research is effectively explained, along with the scope of the chemical family under investigation. The primary aim was to identify bisphenol-related unknowns through suspect screening (NTA).
|  | Sample Information & Preparation | • Sample collection/replication, handling/storage, preparation, extraction, & clean-up methods (and related QA practices) • Intended use of samples (e.g., method development, compound identification, etc.) • Development and intended use of blanks | 3 | The sample size (n = 594) is considered sufficient for the study. Sample collection was conducted in manners to avoid as much contamination as possible. The sample preparation method, based on QuEChERS, was previously optimized for extracting plastic-related compounds with optimized cleanups for human milk. Procedural blanks were included to monitor potential contamination during sample preparation.
|  | QC Spikes & Samples | • Development of QC spikes/samples (e.g., isotopically labeled standards/spikes, native standard spikes, matrix pools) • Intended use of QC spikes/samples (e.g., to monitor instrument performance, data normalization, evaluate signal response range, etc.) and associated calculations and/or visualizations (e.g., mass error of spiked QC compounds, plot of signal response over time, etc.) | 3 | In this study, 3 QCs for each batch was prepared to monitor for peak signal stability for all 9 spiked native bisphenols as well as 4 labeled bisphenols. In total, 60 QCs was prepared for the analysis of 594 samples. For suspect screening, 3 QCs was included in each batch to evaluate the performance of the woftware Profinder to be able to detect all 9 spiked bisphenols at high score (>90%).
| Data Acquisition | Analytical Sequence | • Sample randomization and use of replicate injections (e.g., technical/analytical replicates, field/laboratory/biological replicates) • Inclusion of blanks and QC samples in the acquisition sequence • Information about single vs. multiple analytical batches | 3 | For the analysis of the samples, measures were taken to ensure the stability of the instrument signal throughout the entire run. These included the use of procedural blanks to monitor for contamination, the use of QCs to monitor for signals and relative recoveries of the targeted bisphenols (previous study). The spiked QCs were also used to monitor for signal response and mass error over the run. In addition, solvent blanks were used after every 10 injection to prevent carry-over effect (the first 3 injection were solvent blanks followed by signal monitoring of 1 QC before the analysis of the samples.
|  | Chromatography | • Note: chromatography is intended to include any online separation technique used prior to mass spectrometric detection. • Instrument specifications • Method settings (e.g., column/guard, mobile phases, gradient, injection techniques) | 3 | Both the instrument and the method were described in the main mansucript.
|  | Mass Spectrometry | • Instrument specifications • Instrument calibration and/or tuning procedures • Method settings (e.g., acquisition parameters, such as polarity, resolution, data-dependent vs. data-independent) | 2 | The mode of the method was mentioned in the main manuscript. Although not stated in the main manuscript, a tuning was done to the instrument at each batch analysis to ensure the optimal performance of the instrument.
| Data Processing & Analysis | Data Processing | • File conversion information (e.g., to open-source format, centroiding) • Software program(s) used • Workflow steps (e.g., peak picking, RT calibration, alignment, gap filling) and settings • Feature detection thresholds (e.g., replicate detection criteria; min height, area, or S/N levels; comparison to occurrence/abundance in blanks) • Data correction or normalization methods (e.g., peak area/height normalization or scaling, blank subtraction) | 3 | Parameters used for Profinder and procedures for the blank correction was mentioned in the main manuscript. S/N monitoring throughout a span of 2 years for 4 spiked labeled bisphenols was done throughout 20 batches.
|  | Statistical & Chemometric Analysis | • Software programs(s)/package(s) used & samples/sample groups to which analyses were applied • Basic statistical analysis method goals (e.g., summarize data, evaluate variability, hypothesis testing, identify outliers), type (e.g., Wilcoxon rank sum test, Chi-square test, dispersion ratio evaluation, Spearman/Pearson evaluation), assumptions, and settings/thresholds • Chemometric analysis method goals (e.g., prioritize features, compare/classify samples, evaluate relationships between features), type (e.g., differential analysis, principal component analysis, hierarchical clustering, dimensionality reduction, metabolomic pathway analysis), assumptions, and settings/thresholds | NA
|  | Annotation & Identification | • Software program(s) used (or description of manual annotation/identification efforts) • Libraries and databases used (including details such as chemical coverage, resolution, metadata inclusion; information about in-house databases) • Workflow steps (e.g., formula assignment, suspect screening, MS/MS spectral interpretation or library matching) • Workflow methods & settings (e.g., formula prediction method, scoring algorithms; mass error/RT tolerances, accepted match scores) | 3 | Database library was made and described in the main text. The steps to analyze the MS/MS spectra for each candidate are described as well as the use of SIRIUS for structure elucidation. Acceptable threshold for the matching scores for both Profinder and SIRIUS score was also mentioned
Results | Data Outputs | Statistical & Chemometric Outputs | • Basic statistical outputs (e.g., adj. p-values, standard deviations, test statistics) • Results of chemometric analyses (e.g., reported classifications/groupings of features or samples, outlier removal, observed trends in the data, metabolomic pathway analysis) • Visuals/plots (e.g., Venn diagrams, heatmaps, clustering dendrograms, volcano plots, box plots, network diagrams, PCA and loading plots, molecular network diagrams) • New statistical metrics, algorithms, packages, and/or scripts | 3 | t-test was used during rhe semi-quantification procedure and explained. Linear regression plot was also provided for visuals. Chemometric: NA
|  | Identification & Confidence Levels | • Reported identifications and associated confidence levels (e.g., levels described by Schymanski et al., ES&T, 2014) • Supporting data for annotation/identification (e.g., formula match scores, fine isotope pattern, retention time match, MS/MS match scores, source of MS/MS spectra) • For features with lower confidence IDs (i.e., not standard-confirmed), proposed tentative structures and other annotated data • Semi-quantification or quantification data • Exported MS/MS spectra (e.g., as a library, database, or deposition into online repository) | 3 | Retention time match criteria and MS/MS matching of the suspect and analytical standard were conducted and mentioned in the main text. MS/MS spectra of all confirmed suspect that have same retention time as the standard are provided in the SI. Confidence level was assigned to the suspects (level 1-3). Semi-quantification process was also described and explained in the main text.
| QA/QC Metrics | Data Acquisition QA/QC | • Quality: Adherence to QA/QC protocols for sample preparation and data acquisition • Boundary: Description of the potential impacts of methods (sample prep, chromatographic, MS) on observable chemical space • Accuracy: Reported chromatographic and mass accuracy • Precision: Variability of observed retention time, precursor mass error, and abundance | 2 | The impact and quality of sample preparation on detected features within the chemical space was not discussed, as the preparation method had already been optimized in a previous study. However, key parameters such as mass accuracy, mass error, and retention time for D8, TGSA, and D90 were thoroughly evaluated during semi-quantification.
|  | Data Processing & Analysis QA/QC | • Quality: Outcomes of QC checks or filtering steps along the data processing & analysis workflow • Boundary: Impact of data processing & subsequent analysis method(s) on observed chemical space, observed limits of detection/ID • Accuracy: Performance measures (True Positive Rate, False Positive Rate, etc.) for known compounds or samples with known classification • Precision: Reproducibility/repeatability of performance measures for known compounds or samples with known classification; Calculations such as False Discovery Rate, F1 score, etc. | 2 | Following the screening, data files were reviewed to confirm that all nine spiked bisphenols were detectable by the software across all QC samples. The suspect screening procedure was optimized to capture as many features of interest as possible. Additionally, the selection of optimal parameters in Profinder and their impacts were thoroughly evaluated. Accuracy and Precision: NA

## Plot Multiple Scores
Note: Do not change the name of this tab! There is a hidden, linked tab that relies on the static name to plot scores.
|  |  | FILL IN YOUR REVIEWER SCORES HERE (USE DROP-DOWN MENUS) |  |  |  | SCORES WILL BE PLOTTED HERE
Section | Category | Sub-Category | Reviewer 1 | Reviewer 2 | Reviewer 3 | Author Review
Methods | Study Design | Objectives & Scope
Sample Information & Preparation
QC Spikes & Samples
| Data Acquisition | Analytical Sequence
Chromatography
Mass Spectrometry
| Data Processing & Analysis | Data Processing
Statistical & Chemometric Analysis
Annotation & Identification
Results | Data Outputs | Statistical & Chemometric Outputs
Identification & Confidence Levels
| QA/QC Metrics | Data Acquisition QA/QC
Data Processing & Analysis QA/QC
[7 empty] | NA | 0 | 1 | 2 | 3

## HIDDEN Plotting (hidden)
[7 empty] | -1.2 | -1 | -0.8 | -1.4
Section | Category | Sub-Category | Y | External Avg | External Stdev | Author | Ext NA 1 | Ext NA 2 | Ext NA 3 | Author NA | Ext Min | Ext Max | Err-Min | Err-Max
Methods | Study Design | Objectives & Scope | 17 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Sample Information & Preparation | 16 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | QC Spikes & Controls | 15 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
| Data Acquisition | Analytical Sequence | 13 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Chromatography | 12 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Mass Spectrometry | 11 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
| Data Processing & Analysis | Data Processing | 9 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Statistical & Chemometric Analysis | 8 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Annotation & Identification | 7 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
Results | Data Outputs | Statistical & Chemometric Outputs | 5 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Identification & Confidence Levels | 4 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
| QA/QC Metrics | Data Acquisition QA/QC | 2 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Data Processing & Analysis QA/QC | 1 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!

## HIDDEN Scores Dropdowns (hidden)
NA
0
1
2
3

## Score Explanation
Score | Description | Example 1 – Analytical Sequence | Example 2 – Statistical & Chemometric Analysis | Example 3 – Data Processing & Analysis QA/QC
0 | No elements of relevant reporting are present. | No details are provided regarding analysis order and batch information. Based on reporting, the experiment could not be replicated. | Statistical analyses were performed, but no information was provided about software, methods, assumptions, and thresholds. | No details are provided about the quality, boundary, accuracy, and precision of the data processing and analysis method(s). Based on reporting, the overall performance of the processing and analysis method(s) is unclear.
1 | Some elements of relevant reporting are present, but major improvements are needed. | Some details are provided regarding analysis order and batch information, but major details that would assist in the interpretation of the results are lacking (e.g., the authors reported that blanks were analyzed, but no information about frequency/injection or sample order within the acquisition sequence was provided). | Statistical analyses were performed, but gaps in method details limit method reproducibility. | Some details are provided about the quality, boundary, accuracy, and precision of the data processing and analysis method(s), but major gaps limit understanding of overall performance (e.g., impacts of method choices on observed chemical space are discussed, but true/false positive rates, workflow QC checks, and reproducibility of identification are not reported).
2 | Most elements of relevant reporting are present, but minor improvements are needed. | The majority of analysis order and batch information is provided, but some details are missing that could assist interpretation of the results (e.g., analysis order was reported, including sample randomization and the frequency/order of external reference standards and method blanks; however, information about multiple analytical batches was unclear). | Statistical analyses were performed, and the majority of method details are provided (e.g., the authors clearly reported the software, methods, and assumptions, but minor details regarding method thresholds are missing that would improve the reader’s ability to interpret the results). | Detailed information is provided about the quality, boundary, accuracy, and precision of the data processing and analysis method(s), but minor details that could improve the reader’s ability to interpret the impact on results are excluded (e.g., the authors do not discuss possible sources of variability in the outcomes of their identification workflow).
3 | All elements of relevant reporting are present. | All details regarding sample randomization, replicate injections, the inclusion of blanks and QC samples in the acquisition sequence, and information about analytical batches are provided so that the experiment could be reproduced by an outside researcher. | Statistical analyses were performed, and all method details are reported in sufficient detail to allow a reader to reproduce the method and clearly understand the impact of method choices on the analysis results. | All necessary detailed information about the quality, boundary, accuracy, and precision of the data processing and analysis method(s) are provided and the implications are discussed.
NA | Reporting not relevant to the study. | Analytical sequence and batch information should be reported for all studies; however, it is less critical for studies that do not rely on comparisons of measurement data across samples. | Statistical analyses were not performed (e.g., the study is solely focused on chemical annotation & identification). | Reporting the quality, boundary, accuracy, and precision of the data processing & analysis methods is informative for all studies.