## 1. WHO
Term | Definition | Source
The strength of a recommendation | The strength of a recommendation expresses the degree to which the GDG is confident in the balance between the desirable and undesirable consequences of implementing the recommendation. When a GDG is very certain about this balance (i.e. the desirable consequences clearly outweigh the undesirable consequences), it issues a strong recommendation in favour of an intervention. When it is uncertain about this balance, however, it issues a conditional (or “weak”) recommendation. | WHO Handbook for Guideline Development – 2nd ed. 2014
External review group | The external review group is composed of persons interested in the subject of the guideline as well as individuals who will be affected by the recommendations (often referred to as “stakeholders”). | WHO Handbook for Guideline Development – 2nd ed. 2014
GDG | The WHO Guideline Development Group (GDG) is made up of external experts whose central task is to develop evidence-based recommendations. The GDG also performs the important task of finalizing the scope and key questions of the guideline in PICO format. This group should be established early in the guideline development process, once the steering group has defined the guideline’s general scope and target audience and begun drafting the key questions. | WHO Handbook for Guideline Development – 2nd ed. 2014
GRC | The Guideline Review Committee (GRC) approval is part of WHO’s internal clearance processes for the publication of guidelines. The GRC evaluates planning proposals and final guidelines that have been approved by the relevant directors of the technical unit(s) responsible for the document or their regional counterparts, and before clearance of the final guideline by the assistant director-general (ADG) or regional director. | WHO Handbook for Guideline Development – 2nd ed. 2014
Policy dialogue | (i) the process of policy making or policy formation, i.e. of Recognition of social demand, transformation into political demand and, eventually, into formulation of a policy statement that provides guidance to subsequent decisions about technical implementation (WHO 1982); and/or, (ii) the social debate and interaction between stakeholders that leads to translation of policy into strategies and plans. | WHO Health Systems Strengthening Glossary http://www.who.int/healthsystems/Glossary_January2011.pdf
Steering group | The steering group is responsible for overseeing all administrative and technical aspects for the guideline developmentand includes members from all WHO departments and regional offices whose work deals directly with the topic of the guideline. | WHO Handbook for Guideline Development – 2nd ed. 2014
TEG | Technical Expert groups (TEGs) are comprised of individuals selected for their technical expertise in a topic. TEG are used to synthesise evidence to refine existing WHO guidelines or to review evidence prior to proceeding with the development of a new guideline. The TEG includes individuals with a range of expertise and institutional and professional affiliations.
Universal Health Coverage (UHC) | The situation where all people are able to use the quality health services that they need and do not suffer financial hardship paying for them. | WHO. The End TB Strategy Global strategy and targets for tuberculosis prevention, care and control after 2015. Sixty Seventh World Health Assembly [A67/11 – 14 March 2014].

## 2. Epi, DTA, and GRADE
Term | Definition | Source
Applicability | Applicability concerns using inferences drawn from study participants in the care of specific patients belonging to any population (which differs from extending the results from a sample to the population from which the sample was drawn). When applicability is deemed to be low for a certain population, certainty in the supporting evidence becomes low due to indirectness. (See Indirectness). In a systematic review, applicability distinguishes the relevance of the study to the population represented in the key questions established in the review. Evidence from a primary study may have limited applicability to the review if, compared with the review question, the study was conducted in a patient group with different demographic or clinical features, the index test was applied or interpreted differently, or the definition of the target condition differed. (See QUADAS-2). | Murad MH, Katabi A, Benkhadra R, Montori VM. External validity, generalisability, applicability and directness: a brief primer. BMJ Evid Based Med. 2018;23(1):17-19. Whiting PF, Rutjes AW, Westwood ME, Mallett S, Deeks JJ, Reitsma JB, et al. (QUADAS-2 Group). QUADAS-2: A Revised Tool for the Quality Assessment of Diagnostic Accuracy Studies. Ann Intern Med. 2011;155:529-536.
Bias | Bias is any process at any stage of inference tending to produce results that differ systematically from the true values. Bias is often mistaken for study quality. To minimize bias in diagnostic studies the following considerations are important: inclusion of the right spectrum of patients; complete verification of patients with an appropriate reference standard; and independent interpretation of index test and reference standard results (blinding). Note, bias in conventional usage bias implies prejudice, which is a subjective point of view. (See Spectrum). | Murphy EA. The Logic of Medicine: Johns Hopkins University Press; 1976. Porta ME. A Dictionary of Epidemiology. Oxford University Press; 2014. Rutjes AW, Reitsma JB, Di Nisio M, Smidt N, van Rijn JC, Bossuyt PM. Evidence of bias and variation in diagnostic accuracy studies. CMAJ. 2006;174(4):469-76.
Certainty of the evidence | In the context of a systematic review, the ratings of the certainty of the evidence (also called quality of evidence) reflect the extent of our confidence that the estimates of the effect (including test accuracy and associations) are correct. In the context of making decisions, the certainty ratings reflect the extent of our confidence that the estimates of an effect (including test accuracy and associations) are adequate to support a particular decision or recommendation. GRADE has four levels of certainty in evidence: high certainty, moderate certainty, low certainty, and very low certainty. | Balshem H, Helfand M, Schünemann HJ, Oxman AD, Kunz R, Brozek J, et al. GRADE guidelines: 3. Rating the quality of evidence. J Clin Epidemiol. 2011;64(4):401-6. Schünemann HJ, Mustafa R, Brozek J, Santesso N, Alonso-Coello P, Guyatt G, et al. GRADE Working Group. GRADE Guidelines: 16. GRADE evidence to decision frameworks for tests in clinical practice and public health. J Clin Epidemiol. 2016 Aug;76:89-98. doi: 10.1016/j.jclinepi.2016.01.032.
Cohort study | An observational study in which a defined group of people (the cohort) is followed over time. The outcomes of people in subsets of this cohort are compared, to examine people who were exposed or not exposed (or exposed at different levels) to a particular intervention or other factor of interest. A prospective cohort study assembles participants and follows them into the future. A retrospective cohort study identifies subjects from past records and follows them from the time of those records to the present. | Cochrane Community Glossary. community.cochrane.org/glossary. See also "The tree of possible study designs", Centre for Evidence-Based Medicine https://www.cebm.net/2014/04/study-designs/
Comparator test | Diagnostic accuracy studies may compare two or more index tests, sometimes referred to as index test and comparator test. Robust studies will use either a multiple test (paired) design in which all patients undergo all tests, together with a reference standard, or, a randomized design, in which all patients undergo the reference standard test but are randomly assigned to have only one of the other tests. | Cohen JF, Korevaar DA, Altman DG, Bruns DE, Gatsonis CA, Hooft L, et al. STARD 2015 guidelines for reporting diagnostic accuracy studies: explanation and elaboration. BMJ Open 2016;6:e012799. Takwoingi Y, Leeflang MM, Deeks JJ. Empirical evidence of the importance of comparative studies of diagnostic test accuracy. Annals of internal medicine. 2013 Apr 2;158(7):544-54.
Case-control study | “Diagnostic case-control studies” refers to studies in which the disease status is already known before the index test is performed. This design may produce inflated estimates of test accuracy. | Rutjes AWS, Reitsma JB, Vandenbroucke JP, Glas AS,Bossuyt PMM. Case-control and two-gate designs in diagnostic accuracy studies. Clin Chem 2005;51:1335e41. Schünemann HJ, Mustafa R, Brozek J, Santesso N, Alonso-Coello P, Guyatt G, et al. GRADE Working Group.GRADE Guidelines: 16. GRADE evidence to decision frameworks for tests in clinical practice and public health. J Clin Epidemiol, 2016 Aug;76:89-98. doi: 10.1016/j.jclinepi.2016.01.032.
Case series | A study reporting observations on a series of individuals, usually all receiving the same intervention, with no control group. | Cochrane Community Glossary. community.cochrane.org/glossary
Cross-sectional study | Diagnostic accuracy studies are, in principle, cross-sectional studies. At the time of inclusion, all patients either have the target condition, or they do not, and there is clinical uncertainty about their disease status. This classic and frequently used test accuracy study design determines the accuracy of at test or compares the accuracy of more than one test by establishing the test(s) accuracy compared with an acceptable reference standard in the same population. | Bossuyt PM, Leeflang MM. Chapter 6: Developing Criteria for Including Studies. In: Cochrane Handbook for Systematic Reviews of Diagnostic Test Accuracy Version 0.4 [updated September 2008]. The Cochrane Collaboration, 2008. Schünemann HJ, Mustafa R, Brozek J, Santesso N, Alonso-Coello P, Guyatt G, et al. GRADE Working Group. GRADE Guidelines: 16. GRADE evidence to decision frameworks for tests in clinical practice and public health. J Clin Epidemiol, in press.
GRADE Evidence to Decision (EtD) Framework | It is primarily downstream management guided by the results of the test or a series of tests that affects patient-important outcomes. Consequently, decisions about using a test for a specific purpose require identification of the relation between test results, downstream actions, and outcomes. The GRADE EtD Framework for tests requires specifying the purpose of the test, linked or related management, and the key outcomes of concern for different test results and subsequent management. The EtD criteria address test accuracy and assessments of the certainty of the additional evidence necessary for decision making. When there is no direct evidence of test effects on patient-important outcomes, formal or informal modeling is needed to estimate effects. | Schünemann HJ, Mustafa R, Brozek J, Santesso N, Alonso-Coello P, GRADE Working Group, et al. GRADE Guidelines: 16. GRADE evidence to decision frameworks for tests in clinical practice and public health. J Clin Epidemiol. 2016 Aug;76:89-98. doi: 10.1016/j.jclinepi.2016.01.032
Indeterminate results | Results that are neither positive or negative. | Cohen JF, Korevaar DA, Altman DG, Bruns DE, Gatsonis CA, Hooft L, et al. STARD 2015 guidelines for reporting diagnostic accuracy studies: explanation and elaboration. BMJ Open 2016;6:e012799.
Index test | The test under evaluation. | Cohen JF, Korevaar DA, Altman DG, Bruns DE, Gatsonis CA, Hooft L, et al. STARD 2015 guidelines for reporting diagnostic accuracy studies: explanation and elaboration. BMJ Open 2016;6:e012799.
Indirectness | Indirectness is one of five GRADE evidence domains and encompasses 1. population, 2. intervention (index test), 3. outcome measures, and 4. indirect comparisons. For diagnostic tests, the certainty of the evidence can be lowered if there are important differences between the populations studied and those for whom the recommendation is intended (in prior testing, the spectrum of disease, or co-morbidity); if there are important differences in the tests studied and the diagnostic expertise of those applying them in the studies compared to the settings for which the recommendations are intended; or if the tests being compared are each compared to a reference standard in different studies and not directly compared in the same studies. | Schünemann HJ, Oxman AD, Brozek J, Glasziou P, Jaeschke R, Vist GE, et al. GRADE Working Group. Grading quality of evidence and strength of recommendations for diagnostic tests and strategies. BMJ. 2008;336(7653):1106-10. Mustafa RA, Wiercioch W, Cheung A, Prediger B, Brozek J, Bossuyt P, et al. Decision making about healthcare-related tests and diagnostic test strategies. Paper 2: a review of methodological and practical challenges. J Clin Epidemiol. 2017;92:18-28. Schünemann HJ, Mustafa R, Brozek J, Santesso N, Alonso-Coello P, Guyatt G, et al. GRADE Working Group. GRADE Guidelines: 16. GRADE evidence to decision frameworks for tests in clinical practice and public health. J Clin Epidemiol, 2016 Aug;76:89-98. doi: 10.1016/j.jclinepi.2016.01.032.
Medical test | Any method for collecting additional information about the current or future health status of a patient. | Cohen JF, Korevaar DA, Altman DG, Bruns DE, Gatsonis CA, Hooft L, et al. STARD 2015 guidelines for reporting diagnostic accuracy studies: explanation and elaboration. BMJ Open 2016;6:e012799.
Meta-analysis | The use of statistical techniques in a systematic review to integrate the results of included studies. Sometimes misused as a synonym for systematic reviews, where the review includes a meta-analysis. (See systematic review below). | Cochrane Community Glossary. community.cochrane.org/glossary
Negative predictive value (NPV) | The proportion of those with a negative test result who do not have the disease, and can be interpreted as the probability that a negative test result is correct. It is calculated as follows: NPV = Number with a negative test who do not have disease/Number with a negative test. | Cochrane Community Glossary. community.cochrane.org/glossary
Patient-important outcomes | All outcomes that are important or critical to patients for decision making. Outcomes may be categorized as (1) the direct health effects of testing ; (2) the patients’ emotional, social, cognitive, and behavioural responses to testing; (3) outcomes from clinical management based on test results; (4) legal and ethical effects of testing; and (5) the costs of testing to the patient. Tests by themselves usually affect outcomes indirectly rather than directly. Downstream clinical management, which is guided by the results of the test, affects outcomes. Consequently, decisions about diagnostic tests for a specific purpose require identification of the link between test results and downstream clinical actions. | Bossuyt PM, McCaffery K. Additional patient outcomes and pathways in evaluations of testing. Medical decision making : an international journal of the Society for Medical Decision Making. 2009;29(5):E30-8. Chang SM, Matchar DB, Smetana GW, et al., editors. Methods Guide for Medical Test Reviews [Internet]. Rockville (MD): Agency for Healthcare Research and Quality (US); 2012 https://www.ncbi.nlm.nih.gov/books/NBK98241/. Schünemann HJ, Oxman AD, Brozek J, Glasziou P, Jaeschke R, Vist GE,et al. GRADE Working Group. Grading quality of evidence and strength of recommendations for diagnostic tests and strategies. BMJ. 2008;336(7653):1106-10. Mustafa RA, Wiercioch W, Cheung A, Prediger B, Brozek J, Bossuyt P, et al. Decision making about healthcare-related tests and diagnostic test strategies. Paper 2: a review of methodological and practical challenges. J Clin Epidemiol. 2017;92:18-28. Schünemann HJ, Mustafa R, Brozek J, Santesso N, Alonso-Coello P, Guyatt G, et al. GRADE Working Group. GRADE Guidelines: 16. GRADE evidence to decision frameworks for tests in clinical practice and public health. J Clin Epidemiol, 2016 Aug;76:89-98. doi: 10.1016/j.jclinepi.2016.01.032.
Population and sample | A population is an aggregate of creatures, things, cases and so on. A population commonly contains too many individuals to study conveniently, so an investigation is often restricted to one or more samples drawn from it. A well chosen sample will contain most of the information about a particular population parameter but the relation between the sample and the population must be such as to allow true inferences to be made about a population from that sample. | TDV Swinscow. Statistics at Square One Ninth Edition.Revised by M J Campbell, University of Southampton 1997. https://www.bmj.com/about-bmj/resources-readers/publications/statistics-square-one
Positive predictive value (PPV) | The proportion of those with a positive test result who have the disease, and can be interpreted as the probability that a positive test result is correct. It is calculated as follows: PPV = Number with a positive test who have disease/Number with a positive test. | Cochrane Community Glossary. community.cochrane.org/glossary
Pretest probability | The probability of a patient having the target disorder before a diagnostic test result is known. | Centre for Evidence-Based Medicine; https://www.cebm.net/2014/03/pre-test-probability/
QUADAS-2 | Quality Assessment of Diagnostic Accuracy Studies (QUADAS-2) is the current version of QUADAS and the tool widely recommended for use in systematic reviews to evaluate the risk of bias and applicability of primary diagnostic accuracy studies. QUADAS-2, consists of four domains: - patient selection - index test - reference standard - flow and timing Each domain is assessed in terms of risk of bias and the first three in terms of concerns regarding applicability. Signalling questions are included to assist in judgements about risk of bias. | Whiting PF, Rutjes AW, Westwood ME, Mallett S, Deeks JJ, Reitsma JB, et al. (QUADAS-2 Group). QUADAS-2: A Revised Tool for the Quality Assessment of Diagnostic Accuracy Studies. Ann Intern Med. 2011;155:529-536.
Quality in diagnostic accuracy studies | For diagnostic test accuracy studies, QUADAS-2 defines quality as both the risk of bias and concerns about applicability of a study. In a systematic review, assessment of methodological quality includes an appraisal of the degree to which estimates of diagnostic accuracy avoided risk of bias and the extent to which primary studies are applicable to the review’s research question. | Whiting PF, Rutjes AW, Westwood ME, Mallett S, Deeks JJ, Reitsma JB, et al. (QUADAS-2 Group). QUADAS-2: A Revised Tool for the Quality Assessment of Diagnostic Accuracy Studies. Ann Intern Med. 2011;155:529-536.
Randomized controlled trial (RCT) | An experiment in which two or more interventions, possibly including a control intervention or no intervention, are compared by being randomly allocated to participants. In most trials one intervention is assigned to each individual but sometimes assignment is to defined groups of individuals (for example, in a household) or interventions are assigned within individuals (for example, in different orders or to different parts of the body). Advantages and disadvantages of diagnostic RCTs are described in Mustafa et al, J Clin Epidemiol. 2017;92:18-28. | Cochrane Community Glossary. community.cochrane.org/glossary. Mustafa RA, Wiercioch W, Cheung A, Prediger B, Brozek J, Bossuyt P, et al. Decision making about healthcare-related tests and diagnostic test strategies. Paper 2: a review of methodological and practical challenges. J Clin Epidemiol. 2017;92:18-28.
Random sample | A group of people selected for a study that is representative of the population of interest. This means that everyone in the population has an equal chance of being approached to participate in the survey, and the process is meant to ensure that a sample is as representative of the population as possible. It has less bias than a convenience sample: that is, a group that the researchers have more convenient access to. | Cochrane Community Glossary. community.cochrane.org/glossary.
Reference standard | The best available method for establishing the presence or absence of the target condition. Estimates of dignostic accuracy are calculated based on the assumption that the reference standard is 100% sensitive and specific. However, perfect reference standards are rare. | Cohen JF, Korevaar DA, Altman DG, Bruns DE, Gatsonis CA, Hooft L, et al. STARD 2015 guidelines for reporting diagnostic accuracy studies: explanation and elaboration. BMJ Open 2016;6:e012799. Reitsma JB, Rutjes AWS, Whiting P, Vlassov VV, Leeflang MMG, Deeks JJ,. Chapter 9: Assessing methodological quality. In: Deeks JJ, Bossuyt PM, Gatsonis C (editors), Cochrane Handbook for Systematic Reviews of Diagnostic Test Accuracy Version 1.0.0. The Cochrane Collaboration, 2009.
Role of the test | The position of the index test relative to other tests for the same condition, for example, triage, replacement, add-on, or parallel (combined). | Bossuyt PM, Irwig L, Craig J, Glasziou P. Comparative accuracy: assessing new tests against existing diagnostic pathways. BMJ. 2006;332(7549):1089-92. Mustafa RA, Wiercioch W, Cheung A, Prediger B, Brozek J, Bossuyt P, et al. Decision making about healthcare-related tests and diagnostic test strategies. Paper 2: a review of methodological and practical challenges. J Clin Epidemiol. 2017;92:18-28.
Sensitivity | Proportion of those with the target condition who test positive with the index test. It is calculated as follows: Sensitivity = Number with disease who have a positive test/Number with disease. | Cohen JF, Korevaar DA, Altman DG, Bruns DE, Gatsonis CA, Hooft L, et al. STARD 2015 guidelines for reporting diagnostic accuracy studies: explanation and elaboration. BMJ Open 2016;6:e012799. Cochrane Community Glossary. community.cochrane.org/glossary
Specificity | Proportion of those without the target condition who test negative with the index test. It is calculated as follows: Specificity = Number without disease who have a negative test/Number without disease. | Cohen JF, Korevaar DA, Altman DG, Bruns DE, Gatsonis CA, Hooft L, et al. STARD 2015 guidelines for reporting diagnostic accuracy studies: explanation and elaboration. BMJ Open 2016;6:e012799. Cochrane Community Glossary. community.cochrane.org/glossary
Spectrum | A change in patient spectrum, the range of features found in patients, may alter a test's sensitivity and specificity. These features, including differences in symptoms and disease severity, can be listed according to at least three main components - pathologic, clinical, and co-morbid. Bias may occur when a study uses only highly selected patients, perhaps the sickest patients in whom the diagnosis is suspected. | Ransohoff DF, Feinstein AR. Problems of spectrum and bias in evaluating the efficacy of diagnostic tests. N Engl J Med 1978;299:926–30.
STARD | The Standards for Reporting Diagnostic Accuracy (STARD) was developed in 2003 to improve the quality of reporting of diagnostic accuracy studies. STARD 2015 is an updated list of 30 essential items that should be included in every report of a diagnostic accuracy study. This update incorporates recent evidence about sources of bias and variability in diagnostic accuracy and is intended to facilitate the use of STARD. | Cohen JF, Korevaar DA, Altman DG, Bruns DE, Gatsonis CA, Hooft L, et al. STARD 2015 guidelines for reporting diagnostic accuracy studies: explanation and elaboration. BMJ Open 2016;6:e012799.
Systematic review | A review of a clearly formulated question that uses systematic and explicit methods to identify, select, and critically appraise relevant research, and to collect and analyse data from the studies that are included in the review. Statistical methods (meta-analysis) may or may not be used to analyse and summarise the results of the included studies. | Cochrane Community Glossary. community.cochrane.org/glossary
Target condition | The disease or condition that the index test is expected to detect. | Cohen JF, Korevaar DA, Altman DG, Bruns DE, Gatsonis CA, Hooft L, et al. STARD 2015 guidelines for reporting diagnostic accuracy studies: explanation and elaboration. BMJ Open 2016;6:e012799.
True positive (TP), false negative (FN), true negative (TN), and false positive (FP) | True positive (TP) result indicates index test positive and target condition present. False negative (FN) result indicates index test negative but target condition present, i.e. missing the diagnosis of the condition in an individual who has the condition. True negative (TN) result indicates index test negative and target condition not present. False positive (FP) result indictates index test positive but target condition not present, i.e. incorrectly labelling individuals as having the condition when they don’t. | Whiting P, Leeflang M, de Salis I, Mustafa RA, Santesso N, Gopalakrishna G, et al. Guidance was developed on how to write a plain language summary for diagnostic test accuracy reviews. J Clin Epidemiol. 2018;103:112-119.

## 3. Industry-regulatory
Term | Definition | Source
Accuracy (a.k.a. "trueness") | The closeness of the agreement between the results of a single measurement and the true value of the analyte. “Trueness” has replaced the term “accuracy” when referring to the closeness of the agreement between the average value obtained from a large series of measurements and the true value (if there is an international standard) or accepted reference value (if there is not an international standard) of a measurand. | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Analytical performance | The ability of a device to correctly detect or measure a particular analyte | REGULATION (EU) 2017 OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL on in vitro diagnostic medical devices and repealing Directive 98/79/EC and Commission Decision 2010/227/EU
Analytical sensitivity Def 1 | Analytical sensitivity may be expressed as the limit of detection, i.e. the smallest amount of the target marker that can be precisely detected. | THE COMMISSION OF THE EUROPEAN COMMUNITIES. COMMISSION DECISION of 3 February 2009 amending Decision 2002/364/EC on common technical specifications for in vitro-diagnostic medical devices. Official Journal of the European Union.
Analytical sensitivity Def 2 | The ability of the assay to detect very low concentrations of a given substance in a biological specimen; often referred to as the LOD | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Analytical specificity Def 1 | Analytical specificity means the ability of the method to determine solely the target marker | THE COMMISSION OF THE EUROPEAN COMMUNITIES. COMMISSION DECISION of 3 February 2009 amending Decision 2002/364/EC on common technical specifications for in vitro-diagnostic medical devices. Official Journal of the European Union.
Analytical specificity Def 2 | The parameter that needs to be determined for validation of molecular assays. Analytical specificity refers to the ability of an assay to detect only the intended target and that quantification of the target is not affected by cross-reactivity from related or potentially interfering nucleic acids or specimen-related conditions. The two aspects of analytical specificity are cross-reactivity and interference. Both are determined by performing interference studies. | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Analytical validity (and analytical validation/ evaluation) | The accuracy with which a particular genetic characteristic, such as a DNA sequence variant, chromosomal deletion, or biochemical indicator, is identified in a given laboratory test. Technical issues arising in the evaluation of analytic validity include the specific technical requirements of the assay chosen, its reliability, the degree to which reliability varies from laboratory to laboratory, and the complexity of test interpretation. | Burke W, et al. Genetic Tests: Clinical Validity and Clinical Utility. Current Protocols in Human Genetics / Editorial Board, (2014). http://doi.org/10.1002/0471142905.hg0915s81
Bias | Bias is inversely related to trueness and refers to the average deviation from the true value due to nonrandom effects caused by a factor(s) unrelated by the independent variable. | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Bridging studies | According to ICH E5 guideline, a bridging study on a medicine can be defined as an additional study executed in the new region to "build a bridge" with the foreign clinical data on safety, efficacy, and dose response. This bridging of clinical studies is usually made by allowing extrapolation of the foreign clinical trial data to the population in the new region. In other words, a bridging study is a supplemental study on a medicine that is performed in the new region to build a bridge between the information available from the tests already done and the questions arising from the regulatory authority due to ethnic factors. Bridging studies done to assess the efficacy of new drugs could provide additional drug response data in the population of the new region. | http://www.medical-reference.net/2013/10/bridging-studies-definition-history-importance.html
Clinical evidence | Clinical evidence for an IVD medical device is all the information that supports the scientific validity and performance for its use as intended by the manufacturer. | Global Harmonization Task Force. Clinical Evidence for IVD medical devices – Key Definitions and Concepts Study Group 5. Final Document GHTF/SG5/N6:2012
Clinical performance | The ability of a device to yield results that are correlated with a particular clinical condition or a physiological or pathological process or state in accordance with the target population and intended user | REGULATION (EU) 2017 OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL on in vitro diagnostic medical devices and repealing Directive 98/79/EC and Commission Decision 2010/227/EU
Clinical performance study | The purpose of a clinical performance study is to establish or confirm aspects of IVD medical device performance which cannot be determined by analytical performance studies, literature and/or previous experience gained by routine diagnostic testing. | Global Harmonization Task Force. Clinical Evidence for IVD medical devices – Key Definitions and Concepts Study Group 5. Final Document GHTF/SG5/N6:2012
Clinical utility Definition 1 | Clinical utility refers to the risks and benefits resulting from genetic test use. The most important considerations in determining clinical utility are: (1) whether the test and any subsequent interventions lead to an improved health outcome among people with a positive test result; and (2) what risks occur as a result of testing. Complete measurement of clinical utility requires evaluation of the medical and social outcomes associated with testing, and subsequent interventions for people with both positive and negative test results. | Burke W, et al. Genetic Tests: Clinical Validity and Clinical Utility. Current Protocols in Human Genetics / Editorial Board, (2014). http://doi.org/10.1002/0471142905.hg0915s81
Clinical utility Definition 2 | The usefulness of the results obtained from testing with the IVD medical device and the value of the information to the individual being tested and/or the broader population. | Global Harmonization Task Force. Clinical Evidence for IVD medical devices – Key Definitions and Concepts Study Group 5. Final Document GHTF/SG5/N6:2012
Clinical validity (and clinical validation/evaluation) | The accuracy with which a test identifies a patient’s clinical status | Burke W, et al. Genetic Tests: Clinical Validity and Clinical Utility. Current Protocols in Human Genetics / Editorial Board, (2014). http://doi.org/10.1002/0471142905.hg0915s81
Dynamic range | By testing multiple replicates across the dynamic range of the assay in the same run and in different runs and applying suitable statistical tests, precision can also be established using some of the data points from reportable range and analytical sensitivity experiments. | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Ease of use | The number of processing steps, whether the test can use whole blood and the need for accurate timing will influence the extent of training and supervision required. | Peeling R, et al. Nat Rev Microbiol. 2006
Exclusivity studies / Cross-Reactivity studies | Studies on any cross-reactivity with mycobacterial species known to crossreact with certain MTB-complex targets, to ensure specificity for MTBC | Food and Drug Administration, 2014. (n.d.). Class II Special Controls Guideline: Nucleic Acid-Based In Vitro Diagnostic Devices for the Detection of Mycobacterium tuberculosisComplex in Respiratory Specimens.
IFU (Instructions for Use) | Instructions for Use are the procedural steps to follow in setting up, using, cleaning, troubleshooting, and storing a device. This information constitutes the “how to” for the device. | U.S. Department of Health and Human Services Food and Drug Administration. Guidance on Medical Device Patient Labeling; Final Guidance for Industry and FDA Reviewers. Document issued on: April 19, 2001. https://www.fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070801.pdf
In-silico analysis for DNA-based assays | In-silico (conducted by means of computer modelling or computer simulation) analysis to ensure specificity of primers and probes to amplify and detect desired sequences
Inclusivity studies | Studies to demonstrate that you can detect MTB-complex strains representing the global genetic diversity of MTB-complex. | Food and Drug Administration, 2014. (n.d.). Class II Special Controls Guideline: Nucleic Acid-Based In Vitro Diagnostic Devices for the Detection of Mycobacterium tuberculosisComplex in Respiratory Specimens.
Intended use | The objective intent of the manufacturer regarding the use of a product, process or service as reflected in the specifications, instructions and information provided by the manufacturer. | Global Harmonization Task Force. Clinical Evidence for IVD medical devices – Key Definitions and Concepts Study Group 5. Final Document GHTF/SG5/N6:2012
Internal/external controls | An externally controlled trial compares a group of subjects receiving the test treatment with a group of patients external to the study, rather than to an internal control group consisting of patients from the same population assigned to a different treatment. The external control can be a group of patients treated at an earlier time (historical control) or a group treated during the same time period but in another setting. The external control may be defined (a specific group of patients) or non-defined (a comparator group based on general medical knowledge of outcome). | European Medicines Agency. ICH Topic E 10 Choice of Control Group in Clinical Trials. NOTE FOR GUIDANCE ON CHOICE OF CONTROL GROUP IN CLINICAL TRIALS (CPMP/ICH/364/96). http://www.ema.europa.eu/docs/en_GB/document_library/Scientific_guideline/2009/09/WC500002925.pdf
IVD Def 1 | ‘In Vitro Diagnostic (IVD) medical device’ means a medical device, whether used alone or in combination, intended by the manufacturer for the in-vitro examination of specimens derived from the human body solely or principally to provide information for diagnostic, monitoring or compatibility purposes. | Global Harmonization Task Force. Definition of the Terms ‘Medical Device’ and ‘In Vitro Diagnostic (IVD) Medical Device’ Study Group 1. Final Document GHTF/SG1/N071:2012
IVD Def 2 | Any medical device which is a reagent, reagent product, calibrator, control material, kit, instrument, apparatus, piece of equipment, software or system, whether used alone or in combination, intended by the manufacturer to be used in vitro for the examination of specimens, including blood and tissue donations, derived from the human body, solely or principally for the purpose of providing information on one or more of the following: (a) concerning a physiological or pathological process or state; (b) concerning congenital physical or mental impairments; (c) concerning the predisposition to a medical condition or a disease; (d) to determine the safety and compatibility with potential recipients; (e) to predict treatment response or reactions; (f) to define or monitoring therapeutic measures. | REGULATION (EU) 2017 OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL on in vitro diagnostic medical devices and repealing Directive 98/79/EC and Commission Decision 2010/227/EU
LoD (Limit of detection) | LOD is the lowest actual concentration of analyte in a specimen that can be consistently detected (e.g., in 95% of specimens tested) with acceptable precision, but not necessarily quantified, under routine laboratory conditions and in a defined type of specimen. LOD is expressed as a concentration such that the lower the detectable conc. of the analyte, the greater the analytical sens. of the assay. | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Market surveillance | The activities carried out and measures taken by public authorities to check and ensure that devices comply with the requirements set out in the relevant Union harmonisation legislation and do not endanger health, safety or any other aspect of public interest protection | REGULATION (EU) 2017 OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL on in vitro diagnostic medical devices and repealing Directive 98/79/EC and Commission Decision 2010/227/EU
Matrix | Previously tested samples that were found to be negative for the target analyte. | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Performance evaluation | An assessment and analysis of data to establish or verify the scientific validity, the analytical and, where applicable, the clinical performance of a device | REGULATION (EU) 2017 OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL on in vitro diagnostic medical devices and repealing Directive 98/79/EC and Commission Decision 2010/227/EU
Performance of a device | The ability of a device to achieve its intended purpose as claimed by the manufacturer. It consists of the analytical and, where applicable, the clinical performance supporting that intended purpose | REGULATION (EU) 2017 OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL on in vitro diagnostic medical devices and repealing Directive 98/79/EC and Commission Decision 2010/227/EU
Precision | Closeness of agreement between independent test/measurement results obtained under stipulated conditions | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Rapid test | “Rapid test” means qualitative or semi-quantitative in vitro-diagnostic medical devices, used singly or in a small series, which involve non-automated procedures and have been designed to give a fast result. | THE COMMISSION OF THE EUROPEAN COMMUNITIES. COMMISSION DECISION of 3 February 2009 amending Decision 2002/364/EC on common technical specifications for in vitro-diagnostic medical devices. Official Journal of the European Union.
Repeatability and Reproducibility | “Repeatability” and “reproducibility” are considered to be the extreme measures of precision, with repeatability (or within-run imprecision) being the smallest measure of precision and involving measurements carried out under the same conditions (same operator, reagent lots, instrument, laboratory, time, etc.) and reproducibility (run-to-run imprecision, day-to-day imprecision, etc.) being the largest measure of precision and involving results of measurements under changed conditions (different operators, reagent lots, time, laboratory, etc.) | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Robustness | The robustness of an analytical procedure means the capacity of an analytical procedure to remain unaffected by small but deliberate variations in method parameters and provides an indication of its reliability during normal usage. | THE COMMISSION OF THE EUROPEAN COMMUNITIES. COMMISSION DECISION of 3 February 2009 amending Decision 2002/364/EC on common technical specifications for in vitro-diagnostic medical devices. Official Journal of the European Union.
Scientific validity of an analyte | The association of an analyte with a clinical condition or a physiological state | Global Harmonization Task Force. Clinical Evidence for IVD medical devices – Key Definitions and Concepts Study Group 5. Final Document GHTF/SG5/N6:2012
Scientific/marker validity of analyte | The association of an analyte with a clinical condition or a physiological state | REGULATION (EU) 2017 OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL on in vitro diagnostic medical devices and repealing Directive 98/79/EC and Commission Decision 2010/227/EU
Validation | The FDA and ISO both define the term “validation” as “confirmation by examination and provision of objective evidence that the particular requirements for a specific intended use can be consistently fulfilled” | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Verification | Both the FDA and ISO deﬁne the term “veriﬁcation” broadly as “conﬁrmation through the provision of objective evidence, that speciﬁed requirements have been fulﬁlled” | Burd EM. Validation of Laboratory-Developed Molecular Assays for Infectious Diseases. Clinical Microbiology Reviews. 2010, p. 550–576 Vol. 23, No. 3.
Whole system failure rate | The whole system failure rate means the frequency of failures when the entire process is performed as prescribed by the manufacturer. | THE COMMISSION OF THE EUROPEAN COMMUNITIES. COMMISSION DECISION of 3 February 2009 amending Decision 2002/364/EC on common technical specifications for in vitro-diagnostic medical devices. Official Journal of the European Union.

## 4. Sreening-testing
Term | Definition | Source
Active TB case-finding | Active case-finding is synonymous with systematic screening for active TB, although it normally implies screening that is implemented outside of health facilities. | WHO Systematic Screening Guidelines 2013
Active tuberculosis | Refers to disease that occurs in someone infected with Mycobacterium tuberculosis. It is characterized by signs or symptoms of active disease, or both, and is distinct from latent tuberculosis infection, which occurs without signs or symptoms of active disease. | WHO Systematic Screening Guidelines 2013
Diagnostic testing | Options for the initial diagnostic testing of people whose screening test is positive: either sputum-smear microscopy or a rapid molecular test that has been demonstrated to have high accuracy for both smear-positive and smear-negative pulmonary TB, such as the Xpert MTB/RIF test (or any rapid test recommended by WHO in the future that has the same or better accuracy49). Positive or negative diagnostic results may require a repeat test or further diagnostic evaluation using culture, drugsusceptibility testing, clinical assessment, or some combination of these. Culture is the gold standard of diagnostic testing for TB. | WHO Systematic Screening Guidelines 2013
Enhanced case-finding | Enhanced case-finding uses health information or education to provide information about what type of health-seeking behaviour is appropriate when people experience symptoms of TB; this type of case-finding may be combined with improving access to diagnostic services. Enhanced case-finding may or may not be combined with screening. | WHO Systematic Screening Guidelines 2013
Intensified case-finding | Intensified case-finding for TB means regularly screening all people with or at high risk of HIV or in congregate settings (such as mines, prisons, military barracks) for the symptoms and signs of TB, followed promptly with diagnosis and treatment, and then doing the same for household contacts. | WHO Three I’s for HIV/TB Meeting Report. Intensified case-finding (ICF), isoniazid preventive therapy (IPT) and TB infection control (IC) for people living with HIV. Geneva, Switzerland, World Health Organization, 2008. http://www.who.int/hiv/pub/meetingreports/WHO_3Is_meeting_report.pdf?ua=1
Number needed to screen (NNS) | The number of people that need to undergo screening to diagnose one person with active TB. | WHO. Systematic screening for active tuberculosis: an operational guide. 2015. http://www.who.int/tb/publications/2015/operational_guide/en/
Passive case-finding | A patient-initiated pathway to TB diagnosis involving: (1) a person with active TB experiencing symptoms that he or she recognizes as serious; (2) the person having access to and seeking care, and presenting spontaneously at an appropriate health facility; (3) a health worker correctly assessing whether the person fulfils the criteria for suspected TB; and (4) the successful use of a diagnostic algorithm with sufficient sensitivity and specificity. Passive case-finding may involve an element of systematic screening if the identification of people with suspected TB is done systematically for all people seeking care in a health facility or clinic. | WHO Systematic Screening Guidelines 2013
Risk group | A risk group for TB is any group of people within which the prevalence or incidence of TB is significantly higher than in the general population. A risk group may be a group of people sharing a specific individual-level risk profile (for example, being in close contact with a person who has active TB; or living with HIV or having diabetes; or being a migrant). A risk group can also be defined as all people living in a specific geographical location associated with a high burden of TB (for example, all people living in an urban slum) or a specific type of institution (such as all prisoners in a country). | WHO Systematic Screening Guidelines 2013
Screening test, examination or procedure for active tuberculosis | A screening test, examination or other procedure for active tuberculosis distinguishes people with a high likelihood of having active TB from people who are highly unlikely to have active TB. A screening test is not intended to be diagnostic. People with positive results on a screening test should undergo diagnostic evaluation. | WHO Systematic Screening Guidelines 2013
Systematic screening | Systematic screening is the systematic identification of people with suspected active TB, in a predetermined target group, using tests, examinations or other procedures that can be applied rapidly. Among those screened positive, the diagnosis needs to be established by one or several diagnostic tests and additional clinical assessments, which together have high accuracy. In principle, systematic screening for active TB can be done for the whole population (mass screening) or be targeted at selected risk groups. It can target people who seek health care (with or without symptoms or signs compatible with TB) and people who do not seek care (because they do not perceive that they have a health problem that warrants medical attention, because barriers make it difficult to access health care, or for other reasons) | WHO Systematic Screening Guidelines 2013
Triage test | A triage test is used before the existing test or testing pathway, and only patients with a particular result on the triage test continue the testing pathway. Triage tests may be less accurate than existing ones and may not be meant to replace them. They have other advantages, such as simplicity or low cost. | Cochrane/Bossuyt triage test definition: Bossuyt PM, Irwig L, Craig J, Glasziou P. Comparative accuracy: assessing new tests against existing diagnostic pathways. BMJ 2006;332:1089–92.